Patient Instructions

CRYO PNEUMATIC SHOULDER SUPPORT

1. Remove gel pack and place in freezer for a minimum of

hours (see warnings below).

2. Re-attach gel pack inside shoulder support, making sure seams line up over shoulder cap opening.

3. Grasp shoulder support and locate top (note: valve located at top) and place opening over affected shoulder cap.

4. Grasp attached strap with blue hook and secure around base of arm near elbow. Grasp attached strap with red  hook and secure under arm near shoulder.

5. Locate loose long strap and bring long strap under un-affected shoulder, making sure curved portion of strap is facing downward.

6. Thread long strap through “IN” side of 5” buckle. Tighten to desired comfort level.

7. Attach tube with bulb to valve.

8. To inflate, switch to “ON” position, pump bulb to desired compression, making sure not to over inflate. To deflate, press button at base of bulb.

9. When desired compression is attained, switch to “OFF” position and remove tube with bulb from valve connection.

Note: support may also be deflated by removing tube while in “ON” position.

WARNING: recommended cold therapy treatment; 20 minutes on patient, 20 minutes off.

CAUTION:

1. DO NOT OVER INFLATE - improper inflation may inhibit circulation or cause skin irritation

2. Use only after following directions for use

3. Do not use gel pack on area of sensitive skin

4. Cold therapy should not be used by people with circulatory problems unless prescribed by

a physician

5. Gel pack is non-toxic – not intended for ingestion

6. Discard gel pack if punctured or torn