Patient Instructions

CRYO PNEUMATIC SHOULDER SUPPORT

- Remove gel pack and place in freezer

- Re-attach gel pack inside shoulder support, making sure seams line up over shoulder cap opening.

- Grasp shoulder support and locate top (note: valve located at top) and place opening over affected shoulder cap.

- Grasp attached strap with blue hook and secure around base of arm near elbow. Grasp attached strap with red hook and secure under arm near shoulder.

- Locate loose long strap and bring long strap under un-affected shoulder, making sure curved portion of strap is facing downward.

- Thread long strap through “IN” side of 5” buckle.

- Tighten to desired comfort level.

- Attach tube with bulb to valve.

- To inflate, switch to “ON” position, pump bulb to desired compression, making sure not to over inflate.

- To deflate, press button at base of bulb.

- When desired compression is attained, switch to “OFF” position and remove tube with bulb from valve connection.

- Note: support may also be deflated by removing tube while in “ON” position.

WARNING: recommended cold therapy treatment; 20 minutes on patient, 20 minutes off.

CAUTION:

- DO NOT OVER INFLATE - improper inflation may inhibit circulation or cause skin irritation

- Use only after following directions for use

- Do not use gel pack on area of sensitive skin

- Cold therapy should not be used by people with circulatory problems unless prescribed by a physician

- Gel pack is non-toxic – not intended for ingestion

- Discard gel pack if punctured or torn