Patient Instructions

Corflex Anterior Closure Knee Brace

Application:

- Open the Knee Brace by unfastening the Velcro

- Place the knee brace behind the knee so that the yellow dot is located on the thigh

- Make sure the condyle pads (cushioned pads inside the brace) line up with the knee joint

- Once in place, secure the bottom Velcro around the calf and then the top Velcro around the thigh, making sure that it is snug.

- Make sure that the knee opening is around the knee cap and does not slide down the leg

- Then fasten the external bottom Velcro strap around the calf and the top external strap around the thigh

- Brace should fit snugly on leg and Velcro should be securely fastened to avoid slippage

Care Instructions:

- Remove the metal stays located on each side of the brace

- Make sure all the velco is connected

- Hand wash with warm water and mild soap

- Let the product air dry